## Table 1
Scenario Group | Level of Coordination | Emissions Policy | Solar PV Characteristics | Wind Turbine Characteristics
1 | Limited Coordination | Reference (No CO2 Target) | 1-axis tracking | Turbines T1-T10
2 | Limited Coordination | Reference (No CO2 Target) | Fixed | Turbines T1-T10
3 | Limited Coordination | Mitigation (90% CO2 Cut) | 1-axis tracking | Turbines T1-T10
4 | Limited Coordination | Mitigation (90% CO2 Cut) | Fixed | Turbines T1-T10
5 | Full Coordination | Reference (No CO2 Target) | 1-axis tracking | Turbines T1-T10
6 | Full Coordination | Reference (No CO2 Target) | Fixed | Turbines T1-T10
7 | Full Coordination | Mitigation (90% CO2 Cut) | 1-axis tracking | Turbines T1-T10
8 | Full Coordination | Mitigation (90% CO2 Cut) | Fixed | Turbines T1-T10

## Supp. Table 6
Turbine | Modeled after: | Capital Cost ($/kW) | Hub Height (m) | Rotor Diameter (m) | Nameplate Capacity (MW) | Cut-in Speed (m/s) | Rated Speed (m/s) | Cut-out Speed (m/s)
T1 | Vestas V90 2000 | 1575 | 100 | 90 | 2 | 4 | 13 | 25
T2 | Vestas V164 7000 | 1575 | 100 | 164 | 7 | 4 | 11 | 25
T3 | Vestas V90 3000 | 1575 | 100 | 90 | 3 | 4 | 15 | 25
T4 | Siemens SWT 3.6 107 | 1264 | 90 | 107 | 3.6 | 3 | 13 | 25
T5 | Siemens SWT 2.3 93 | 1264 | 80 | 93 | 2.5 | 4 | 14 | 25
T6 | GE 2.5xl | 1645 | 100 | 100 | 2.5 | 3 | 13 | 25
T7 | GE 1.5sle | 1529 | 80 | 77 | 1.5 | 3.5 | 12 | 25
T8 | Gamesa G80 2000 | 1264 | 80 | 80 | 2 | 3.5 | 12 | 25
T9 | Enercon E126 7000 | 3684 | 135 | 126 | 7 | 3 | 16.5 | 34
T10 | Enercon E101 3000 | 1787 | 135 | 101 | 3.05 | 2 | 13 | 25

## Supp. Table 7
Wind
Country | Total Potential (GW) | Mean Annual Capacity Factor
Argentina | 631.6 | 0.409
Brazil | 282 | 0.28
Chile | 25.2 | 0.481*
Paraguay | 80.3 | 0.344
Uruguay | 102.6 | 0.3
Solar PV
Country | Total Potential (GW) | Mean Annual Capacity Factor
Argentina | 68.6 | 0.251
Brazil | 134.7 | 0.219
Chile | 94.1 | 0.286
Paraguay | 11.4 | 0.211
Uruguay | 8.1 | 0.22
*Capacity factor due to sites in remote far south. Values are only representative of sites in the model.